LONG LAKE VOLUNTEER FIRE DEPARTMENT

4113 Pontoon rd

Pontoon Beach, Illinois 62040

FDID: MC194                           	618.931.2655 - Admin	                      I.S.O. Rating: 3

## FIRE ALARM PLAN REVIEW SUBMITTAL FORM

PROJECT NAME:

LOCATION (Address & City):			 SCOPE OF WORK PROJECT COST FOR REVIEW INVOICE:

$1,000.00 PROJECT COST x .003$ =$ 	  Note: Minimum fee is $100. for first $5,000. of cost

COMPANY SUBMITTING PLANS FOR REVIEW: 	 ADDRESS: 		 CONTACT NAME: 		 TELEPHONE: 	 EMAIL:

### The following items must be included as part of the submittal:





A floor plan which indicates the size and use of all rooms  Occupancy type of building

Project code analysis



Locations of alarm-initiating and notification appliances  Alarm control and trouble signaling equipment

Annunciation





Power connection  Battery calculations





Conductor type and sizes Voltage drop calculations

Manufacturer’s model #s & listing information for equipment, devices & materials (cut sheets)





Details of ceiling height and construction  The interface of fire safety control functions

Failure to submit all required items may result in the rejection of the submittal until such time all information has been received.

Fees must be paid before plan review will be released.

Plan #	Date	Info